T77630-70 Tachtrol 30 EXPLOSION PROOF PROCESS TACHOMETER

New Generation Tachtrol - Explosion Proff Digial Display Tachometer same features as the T77310-71 & 72 with
* Explosion Proof Enclosure
* integrated display
* Display: 128 X 64 LCD Graphic Display with Backlight
* Two independent Output channels for speed, count period, or equation results. 
* Alarm status/security,mode , user defined units for each channel.